Chapter 15 Quiz

| Name: |  | Date: |  |
| --- | --- | --- | --- |

Directions: 	Write the correct letter on the blank before each question.

1.	Which of the following are the final two steps in the plans review process?  (656)

A.	Review and accept

B.	Accept and authorize

C.	Submittal and authorize

D.	Resubmittal and authorize

2.	Ideally, all plans for a project are submitted to the reviewing authority:  (658)

A.	at the same time.

B.	within the calendar year.

C.	within 4 weeks of project start date.

D.	within 6 weeks of project start date.

3.	Which of the following is the BEST reason why submitted plans need to have all the information necessary for plans review?  (658)

A.	Allow any needed fees to be collected

B.	Allow nearby businesses to prepare for the addition

C.	Identify specific contractors needed during the project

D.	Help an inspector know what to expect during construction

4.	Working drawings on a commercial construction project are typically divided into groups by:  (662)

A.	project cost.

B.	alphabetical order.

C.	individual discipline.

D.	order in which work is performed.

5.	Which plan usually includes information such as the north direction symbol, lot dimensions, utility lines, and contour lines?  (663-664)

A.	Site plan

B.	Floor plan

C.	Elevation plan

D.	Sectional plan

6.	Which type of plan provides specific details about building components such as stairs, building services, and ceiling and roof joists or trusses?  (665)

A.	Site plan

B.	Floor plan

C.	Elevation plan

D.	Sectional plan

7.	Which system plan will MOST likely indicate the location of fire and/or smoke dampers where the ductwork penetrates fire-resistive walls or floors?  (670)

A.	Plumbing

B.	Electrical

C.	Mechanical

D.	Automatic sprinkler

8.	Which system plan includes information of the FDC location and water supply main location and capacity?  (677)

A.	Site

B.	Electrical

C.	Plumbing

D.	Standpipe and hose

9.	Building codes commonly allow an additional story if the building: (680)

A.	will be unoccupied 50% of the time.

B.	will have limited employees and no visitors.

C.	has fire resistant interior furnishings and décor.

D.	has complete automatic sprinkler system protection.

10.	Which of the following determines the occupancy classification for the proposed building?  (680)

A.	Building manager

B.	Design professional

C.	Authority having jurisdiction

D.	Inspector or plans examiner

11.	Which of the following are required to provide the occupant load calculations for verification?  (681)

A.	Design professional

B.	Building manager

C.	Authority having jurisdiction

D.	Inspector or plans examiner

12.	When does the plans examiner evaluate the means of egress?  (681)

A.	After the building is occupied

B.	As a final step in the plans review process

C.	After verifying the occupant load of the space or building

D.	Before verifying the occupant load of the space or building