Chapter 14 Quiz

| Name: |  | Date: |  |
| --- | --- | --- | --- |

Directions: 	Write the correct letter on the blank before each question.

1.	When is acceptance testing typically performed on fire detection and alarm systems?  (642)

A.	After occupants have been in place 30 days

B.	Immediately following complaints from occupants

C.	Any time the system malfunctions in the first six months

D.	Soon after the system has been installed and prior to occupancy

2.	Which type of fire notification signaling appliances are most commonly used in a structure?  (644)

A.	Visual

B.	Audible

C.	Integrated

D.	Rotating beacons

3.	In order for audible fire notification appliances to alert the building occupants, the appliance must be:  (644)

A.	near the entrance.

B.	loud enough to be heard.

C.	within reach of every occupant.

D.	located in every hallway of the occupancy.

4.	The requirement for specific visual fire notification appliances comes from:  (645)

A.	federal law.

B.	model codes.

C.	adopted building code.

D.	manufacturer’s standards.

5.	When fire alarm systems are installed, the appropriate documentation must be submitted to the:  (646)

A.	AHJ.

B.	contractor.

C.	manufacturer.

D.	local fire department.