Chapter 9 Quiz

| Name: |  | Date: |  |
| --- | --- | --- | --- |

Directions: 	Write the correct letter on the blank before each question.

1.	What should inspectors refer to regarding the inspection of building services such as cooking equipment?  (335)

A.	Model codes

B.	Industry standards

C.	Locally adopted codes

D.	Manufacturer’s standards

2.	What are the primary fire hazards of HVAC systems?  (335-336)

A.	Buildup or leakage of gases

B.	Inadequate clearances and improper limit controls

C.	Careless handling of ashes and accumulation of creosote

D.	Heating appliances and the spread of fire through the air handling system

3.	A ____ is a pressure vessel that is used to generate steam to power machinery.  (338)

A.	boiler

B.	heat element

C.	HVAC system

D.	gravity furnace

4.	Which of the following is a self-contained device that is thermostatically controlled?  (340)

A.	Boiler

B.	Unit heater

C.	HVAC system

D.	Gravity furnace

5.	Heating devices that require nearby floors and walls be properly protected are called:  (340)

A.	boilers.

B.	elements.

C.	room heaters.

D.	gravity furnaces.

6.	Which type of heating device is hazardous because they can easily be misused?  (342)

A.	Unit heaters

B.	Room heaters

C.	Gravity furnaces

D.	Temporary/portable heaters

7.	An example of a mechanical air-moving or air-distribution system is a:  (344)

A.	boiler.

B.	furnace.

C.	room heater.

D.	ventilation system.

8.	Which type of ventilation hoods are placed over dishwashers and ovens?  (345)

A.	Type I

B.	Type II

C.	Type III

D.	Type IV

9.	Many commercial cooking establishments utilize ____ for fire suppression.  (347)

A.	no specific systems

B.	water-based systems

C.	dry-chemical systems

D.	wet-chemical systems

10.	Which class of industrial ovens and furnaces operate at approximately atmospheric pressure where no flammable volatile combustibles materials are being heated?  (348)

A.	Class A

B.	Class B

C.	Class C

D.	Class D

11.	The most common type of powered industrial truck is the:  (349)

A.	forklift.

B.	ambulance.

C.	dump truck.

D.	fire apparatus.

12.	Combustible vegetation must be cleared both inside a tent and up to ____ around the outside of the tent.  (352)

A.	1 foot (.3 m)

B.	5 feet (1.5 m)

C.	10 feet (3 m)

D.	25 feet (7.5 m)

13.	Which hazardous process is considered hot work?  (352)

A.	Auto paint shops

B.	Quenching operations

C.	Dry cleaning operations

D.	Welding or thermal cutting

14.	Workers must maintain a fire watch for at least ____ after any welding or thermal cutting operation.  (355)

A.	15 minutes

B.	30 minutes

C.	45 minutes

D.	60 minutes

15.	Which flammable finishing method involves the suspension of electrically charged combustible powders?  (356)

A.	Spray coating

B.	Powder coating

C.	Quench coating

D.	Immersion coating

16.	What is a significant issue regarding tanks used in quenching operations?  (360)

A.	Overflow

B.	Splashing

C.	Drain clogs

D.	Dust hazards

17.	Which of the following is an example of passive dust control?  (368)

A.	Vacuuming systems

B.	Dust collection system

C.	Air material separators

D.	Conveyor belt enclosures

18.	The keys to preventing fires in materials-handling facilities are controlling dust and: (369)

A.	training staff.

B.	ignition sources.

C.	cleaning motors.

D.	controlling staff access.

19.	The best way to prevent a distillery fire is to: (373)

A.	vent all vapors inside the facility.

B.	use the smallest tanks and casks possible.

C.	produce only one type of spirit in the distillery.

D.	control flammable vapors and ignition sources.