Chapter 5 Test

| Name: |  | Date: |  |
| --- | --- | --- | --- |

Directions: Write the correct letter on the blank before each question.

Objective 1:

Identify the different types of structural systems used in building construction and the fire risks associated with each.

1.	Where would an inspector be most likely to find construction documents related to an original building construction?  (172)

A.	Local business association office

B.	Unions related to the employees

C.	Building maintenance contractors

D.	Building department or permit office

2.	Which of the following structural systems uses the walls of a building to support spanning elements such as beams and trusses?  (172)

A.	Bearing wall structures

B.	Interior steel beam structures

C.	Lateral load-bearing structures

D.	Shell and membrane structures

3.	Which of the following statements about a bearing wall structure is MOST accurate?  (172)

A.	The walls must be continuous.

B.	Interior walls cannot be used for support.

C.	The walls are subjected to compressive loads.

D.	The walls are not subjected to compressive loads.

4.	What material is used for bearing walls?  (172)

A.	Plastics

B.	Composites

C.	Concrete panels

D.	Fully tempered glass

5.	Which of the following would be an example of a dead load?  (172)

A.	Roofs

B.	Building contents

C.	Wind and seismic loads

D.	Weight of snow or rain on the roof

6.	Any load that is not fixed or permanent is referred to as a:  (173)

A.	live load.

B.	dead load.

C.	change load.

D.	transitory load.

7.	Which of the following would be an example of a live load?  (173)

A.	Roofs

B.	Interior walls

C.	Building contents

D.	Floor slabs or decks

8.	Which of the following distinguishes a membrane structure from a tent?  (174)

A.	Use

B.	Size

C.	Location

D.	Permanence

9.	Membrane structures used for fewer than 180 days are addressed by:  (174)

A.	fire codes.

B.	building codes.

C.	both building and fire codes.

D.	neither building nor fire codes.

10.	Which of the following is an advantage of a membrane structure from a design standpoint?  (174)

A.	They provide greater life safety protection.

B.	The fabric of the membrane is extremely rigid.

C.	They can usually be erected in less time than a rigid structural system.

D.	The fabric has significant weight so is durable under all types of weather conditions.

11.	Which of the following statements about membrane structures is MOST accurate?  (175)

A.	Fabrics cannot support compressive forces.

B.	Fabrics are able to support compressive forces.

C.	Fabrics can support limited building appliances.

D.	Fabrics cannot be supported by cables or masts.

12.	When can membrane structures be used in fire-resistive construction?  (175)

A.	When occupancy numbers will be very limited

B.	When the structure will be used less than 180 days

C.	When local ordinances do not address requirements for fire-resistive construction

D.	When a building code only requires a noncombustible roof for a fire-resistive building

13.	Which type of framing uses relatively closely spaced vertical steel studs connected by top and bottom horizontal members?  (176)

A.	Truss frames

B.	Steel stud wall framing

C.	Post and beam framing

D.	Slab and column frames

14.	Which type of framing uses a series of vertical elements to support horizontal elements that are subject to transverse loads?  (176)

A.	Truss frames

B.	Steel stud wall framing

C.	Post and beam framing

D.	Slab and column frames

15.	Slab and column frames are most frequently encountered in:  (176)

A.	concrete structures.

B.	temporary outdoor structures.

C.	small one-family residential homes.

D.	large apartment or hotel complexes.

16.	Which frame system is used when the joints between a column and a beam are reinforced so that bending stresses can be transmitted through the joints?  (178)

A.	Rigid frames

B.	Truss frames

C.	Slab and column frames

D.	Steel and composite frames

17.	Which of the following acts to retard the spread of fire into the stud spaces in wood framing?  (179)

A.	Air voids

B.	Foam insulation

C.	Plastic or gravel granules

D.	An interior finish of plaster or drywall

18.	In wood framing, what must be provided in addition to the structural members to retard fire?  (179)

A.	Insulation

B.	Fire-stopping

C.	Reinforced columns

D.	Automatic sprinklers

19.	In which type of wood framing are the exterior wall vertical studs not continuous?  (179)

A.	Raised framing

B.	Balloon framing

C.	Platform framing

D.	Traditional framing

20.	Which type of wood framing uses closely spaced members (studs) that are continuous from the sill to the top plate of the roof line?  (180)

A.	Raised framing

B.	Balloon framing

C.	Platform framing

D.	Heavy-timber framing

21.	In what type of framing do the vertical combustible spaces between the studs provide a channel for the rapid communication of fire from floor to floor?  (180)

A.	Raised framing

B.	Balloon framing

C.	Platform framing

D.	Traditional framing

22.	For which type of framing is the basic structural support provided by a framework of beams and columns that are made of wooden timbers?  (181)

A.	Raised framing

B.	Balloon framing

C.	Platform framing

D.	Heavy-timber framing

23.	For which type of framing is the interior wood surface usually left exposed?  (181)

A.	Raised framing

B.	Balloon framing

C.	Platform framing

D.	Heavy-timber framing

24.	Which of the following statements about masonry is MOST accurate?  (181)

A.	Masonry must be used in conjunction with protected steel framing.

B.	All occupancies with masonry walls are considered fire resistive.

C.	Masonry does not provide enough structural integrity to be used for bearing walls.

D.	Masonry can be used to construct bearing walls that provide basic structural support for a building.

25.	When a masonry wall is constructed, the masonry units are laid side by side in a horizontal layer known as a:  (181)

A.	shelf.

B.	wythe.

C.	course.

D.	platform.

26.	The simplest brick wall consists of a wall with a single:  (181)

A.	shelf.

B.	wythe.

C.	course.

D.	platform.

27.	Which of the following will effectively reinforce masonry walls?  (182)

A.	Spraying the finished wall with an insulating material

B.	Placing reinforcement in the center and top of the wythes

C.	Placing vertical steel rods in a cavity between two adjacent wythes of a brick wall

D.	Placing an additional layer of grouting material between the wythes of a brick wall

28.	The fire resistance of a masonry wall depends on the type of masonry units used and the:  (184)

A.	height of the wall.

B.	thickness of the wall.

C.	type of interior contents.

D.	use of insulating materials.

29.	What is the primary material used for structural support in the construction of large modern buildings?  (184)

A.	Steel

B.	Wood

C.	Masonry

D.	Concrete

30.	Which type of concrete permits the designer to cast a wider variety of shapes?  (186)

A.	Precast concrete

B.	Cast-in-place concrete

C.	Type A artist concrete

D.	Blown-in molded concrete

31.	Which type of concrete does not develop its design strength until after it has been placed where it will be cured and used?  (186)

A.	Precast concrete

B.	Cast-in-place concrete

C.	Type A artist concrete

D.	Blown-in molded concrete

32.	Which type of concrete is placed in forms and cured at a plant away from the job site?  (186-187)

A.	Precast concrete

B.	Cast-in-place concrete

C.	Type A artist concrete

D.	Blown-in molded concrete

33.	Which type of concrete reinforcement uses reinforcing steel that is not tensioned until after the concrete has hardened?  (188)

A.	Pretensioned reinforcement

B.	Post-tensioned reinforcement

C.	Cast-in-place poured reinforcement

D.	Precast factory installed reinforcement