Chapter 15 Test

| Name: |  | Date: |  |
| --- | --- | --- | --- |

Directions: Write the correct letter on the blank before each question.

Objective 1:

Explain the impact of local codes and ordinances on the plans review process.

1.	When government agencies conduct construction document review:  (656)

A.	a third-party agency must also review the documents.

B.	they cannot enlist the assistance of third-party agencies.

C.	third-party assistance must be approved by the fire department.

D.	many agencies use third-party agencies to assist with the review.

2.	Which of the following are the first three general steps in the plans review process?  (656)

A.	Accept, resubmittal, review

B.	Review, resubmittal, authorize

C.	Application and submittal, accept, authorize

D.	Application and submittal, review, resubmittal

3.	During which step of the plans review process do plans examiners from building and fire departments note corrections or alterations needed to meet code requirements?  (656)

A.	Review

B.	Accept

C.	Authorize

D.	Application and submittal

4.	During which step of the plans review process are the final set of plans and documents stamped and signed to indicate official acceptance?  (656)

A.	Review

B.	Accept

C.	Authorize

D.	Application and submittal

5.	The last set of plans must be kept at the construction site:  (656)

A.	until all contractors are hired.

B.	until the project is completed.

C.	for five years after completion.

D.	for three years after completion.

6.	During which step of the plans review process is the permit to begin construction for the specific site and project issued?  (656)

A.	Review

B.	Accept

C.	Authorize

D.	Application and submittal

7.	Which of the following is MOST likely to require that contractors be bonded and licensed?  (657)

A.	State agencies

B.	Federal agencies

C.	Local jurisdiction

D.	Building consortiums

8.	Minor revisions to the plans made by the client are called:  (657)

A.	call outs.

B.	markings.

C.	change orders.

D.	building addendums.

9.	Which of the following determines the manner in which plans are handled or routed through the review process?  (658)

A.	State agencies

B.	Federal agencies

C.	Local jurisdictions

D.	Building consortiums

10.	Which of the following is the BEST reason for agencies charging a fee to review construction documents?  (658)

A.	Limit number of documents to review

B.	Raise excess funds to pay for other expenses

C.	Ensure construction documents are reviewed

D.	Defray administrative costs associated with the review

11.	Submitted plans need to have all the information necessary to:  (658)

A.	allow construction to be fast-tracked.

B.	determine appropriate fees and costs.

C.	evaluate compliance with federal standards.

D.	evaluate compliance with the locally adopted code.

12.	Manufacturer’s product submittal information sheets are also called:  (658)

A.	cut sheets.

B.	catalog call-outs.

C.	product safety descriptions.

D.	manufacturer component reviews.

Objective 2:

Describe the different views for building construction plans.

13.	Working drawings should have a(an) _____ that contains specific information about the drawing and the project.  (662)

A.	title block

B.	addendum

C.	cover page

D.	executive summary

14.	Which type of plan is usually one of the first sheets of a set of construction drawings and relates information needed to locate the building?  (663)

A.	Site plan

B.	Floor plan

C.	Elevation plan

D.	Sectional plan

15.	Which of the following are usually shown as broken lines marked at intervals with a letter?  (664)

A.	Utility lines

B.	Contour lines

C.	Lot dimensions

D.	Direction symbols

16.	Which of the following are important when determining grade elevations for fire apparatus access to the site?  (664)

A.	Utility lines

B.	Contour lines

C.	Lot dimensions

D.	Direction symbols

17.	A horizontal drawing of a structure at a given level such as the basement is referred to as a(an):  (665)

A.	site plan.

B.	floor plan.

C.	elevation plan.

D.	sectional plan.

18.	Which type of plan provides specific details about building components such as external walls, internal walls and partitions, and fire separation walls?  (665)

A.	Site plan

B.	Floor plan

C.	Elevation plan

D.	Sectional plan

19.	Which of the following is the usual symbol for exterior walls?  (666)

A.	A single line

B.	A dashed line

C.	Two light colored lines

D.	A pair of parallel lines

20.	Which of the following is used to indicate a door’s direction of swing?  (666)

A.	Arc

B.	Arrow

C.	Letters

D.	Directional symbol

21.	Which type of view contains information about the exterior components of a building such as the type of exterior finish?  (668)

A.	Plan

B.	Detailed

C.	Elevation

D.	Sectional

22.	Which type of view is a vertical view of a building as if it were cut into two parts?  (668)

A.	Plan

B.	Detailed

C.	Elevation

D.	Sectional

23.	Which type of view has the purpose of showing the internal construction of each assembly?  (668)

A.	Plan

B.	Detailed

C.	Sectional

D.	Elevation

24.	Which type of view provides additional information in a larger scale?  (669)

A.	Plan

B.	Detailed

C.	Sectional

D.	Elevation

Objective 3:

Describe building system plans.

25.	Which building systems are MOST likely to spread fire and smoke?  (670)

A.	Electrical

B.	Plumbing

C.	Mechanical

D.	Standpipe and hose

26.	For which building system must the inspector verify the location of exit signs and the means of egress lighting?  (672)

A.	Electrical

B.	Plumbing

C.	Mechanical

D.	Standpipe and hose

27.	Which building system plans should be inspected to determine whether the water supply is adequate to support the fire protection systems in the structure?  (672)

A.	Electrical

B.	Plumbing

C.	Mechanical

D.	Standpipe and hose

28.	For which building system plans must the plans reviewer classify the hazard before the review?  (673-674)

A.	Electrical

B.	Plumbing

C.	Mechanical

D.	Automatic sprinkler

29.	The size of each sprinkler system is based on the:  (675)

A.	cost.

B.	water flow.

C.	content value.

D.	total floor area.

30.	For which building system plans should an inspector determine the location of hose cabinets or discharges?  (677)

A.	Electrical

B.	Plumbing

C.	Automatic sprinkler

D.	Standpipe and hose

31.	For which building system plans should the type of expellant gas and storage container size be documented?  (677)

A.	Electrical

B.	Plumbing

C.	Automatic sprinkler

D.	Special-agent fire extinguishing

32.	Fire detection and alarm systems are designed to meet requirements found in:  (677)

A.	local emergency planning guides.

B.	NFPA® 72, National Fire Alarm Code®.

C.	NFPA® 220, Standard on Types of Building Construction®.

D.	the International Standard for Fire Protection Guidebook.

33.	All fire detection and alarm equipment must be listed by:  (678)

A.	an international manufacturer.

B.	a national building association.

C.	the local authority having jurisdiction.

D.	a nationally recognized testing agency.

Objective 4:

Explain the process of systematic plans review.

34.	Which of the following are general elements that should be reviewed in a systematic plans review?  (679-680)

A.	Fees paid and future use

B.	Historical use and future use

C.	Value of contents and furnishings

D.	Occupancy classification and means of egress

35.	Which of the following is the first step in evaluating documents?  (679-680)

A.	Determine possible future uses of the site

B.	Review all construction work done thus far

C.	Document that all appropriate fees have been paid

D.	Review the overall size of the building in terms of height and area

36.	Which of the following has the responsibility of identifying the intended use of each room or section of the building?  (680)

A.	Building manager

B.	Design professional

C.	Authority having jurisdiction

D.	Inspector or plans examiner

37.	Which of the following verifies occupancy classification is consistent with the intended use of the structure?  (680)

A.	Building manager

B.	Design professional

C.	Inspector or plans examiner

D.	Authority having jurisdiction

38.	When does a plans examiner verify occupant load?  (681)

A.	At any time during the plans review

B.	After all permits are issued and fees paid

C.	After evaluating the life safety and fire protection features of a building

D.	Before evaluating the life safety and fire protection features of a building

39.	Each means of egress must provide a:  (681)

A.	continuous path of travel to the level of exit discharge.

B.	pathway that allows occupants to travel at least half-way to the exit discharge.

C.	path of travel that allows a clear view of the exterior the entire means of egress.

D.	path of travel that allows for areas of refuge along the way if occupants become exhausted.

40.	Plans examiners must evaluate the exit capacity according to:  (682)

A.	their own best judgement.

B.	the desires of building management.

C.	the specifications of the appropriate codes.

D.	the ability of occupants to follow exit directions.

41.	The theory behind building compartmentation is to limit any fire and resulting products of combustion to:  (682)

A.	one area of a building.

B.	the specific area of origin.

C.	less than 25% of the building area.

D.	less than 50% of the building area.

42.	Atriums and open shafts connecting two or more stories are permitted if they are provided with adequate smoke control, automatic sprinkler system protection, and:  (682)

A.	fire barriers.

B.	areas of refuge.

C.	windows covering more than 25% of exterior walls.

D.	windows covering more than 50% of exterior walls.

43.	When do codes often permit less stringent requirements for interior finishes?  (683)

A.	When the building is partially occupied

B.	When automatic sprinkler systems are installed

C.	When there are multiple means of egress for occupants

D.	When the occupancy will have limited interior furnishings

44.	Which of the following is MOST likely to contribute to fire spread or smoke development?  (683)

A.	Fire walls

B.	Obstructions

C.	Insulation materials

D.	Horizontal assemblies

45.	Which of the following must be considered during the plans review activities when reviewing special hazards?  (683)

A.	Contents and processes

B.	Employee turnover and education

C.	Fees applied in excess of normal charges

D.	Value of equipment and manufactured items