Chapter 6 Test

| Name: |  | Date: |  |
| --- | --- | --- | --- |

Directions: Write the correct letter on the blank before each question.

Objective 1:

Describe the characteristics of fire walls.

1.	What kind of fire walls are self supporting and independent of the building frame?  (220)

A.	Tied walls

B.	Freestanding walls

C.	Load-bearing walls

D.	Non load-bearing walls

2.	What degree of fire resistance are structural members incorporated into the fire wall required to have?  (220)

A.	A lower degree of resistance than the fire wall

B.	The same degree of resistance as the fire wall

C.	A higher degree of resistance than the fire wall

D.	They are not required to have specific fire resistance

3.	What are fire-rated partitions designed to do?  (220)

A.	Contain fire to one area

B.	Assist in occupant evacuation

C.	Resist the lateral pull of a collapse

D.	Serve as part of a double-wall system

Objective 2:

Describe the hazards solar panels pose for firefighters.

4.	During a daytime structure fire, what risk does a solar panel system pose for firefighters?  (221)

A.	Solar panels are extremely combustible

B.	Solar panels may shatter, leaving shards

C.	System may continue to produce electricity

D.	System may increase radiant heat exponentially

5.	Which of the following statements about solar panels is MOST accurate?  (221)

A.	They can hinder access/egress pathways on a roof.

B.	They provide greater options for access/egress pathways on a roof.

C.	Model building codes do not address paths or ventilation points for solar panels.

D.	PV systems are designed to produce a minimal amount of usable energy per day.

Objective 3:

Identify the standardized testing method currently accepted by building codes.

6.	What does the the ASTM  E-119 test evaluate?  (222)

A.	Effect on fire endurance of openings in an assembly

B.	Extent to which an assembly may generate smoke and toxic gases

C.	Degree of control of the passage of smoke or products of combustion

D.	Ability of structural assemblies to carry a structural load and act as a fire barrier

7.	When the continuity of an assembly is destroyed, it cannot function as a:  (222)

A.	fire barrier.

B.	point of egress.

C.	ventilation point.

D.	freestanding wall.

Objective 4:

Describe the characteristics of interior components to be evaluated during fire inspections.

8.	Which class of interior floor finish can withstand higher temperatures before igniting?  (222)

A.	Class I

B.	Class II

C.	Class III

D.	Class IV

9.	What can decrease the classification requirement of an interior floor finish?  (222)

A.	Smoke detectors

B.	Number of occupants

C.	Automatic sprinkler system

D.	Distance to closest fire department

10.	What should an inspector verify about the materials, wires, ducts, and pipes stored in concealed interior ceilings?  (223)

A.	They are removed.

B.	They are clearly marked.

C.	They are installed properly.

D.	They are rated for plenum use.

11.	Stairs that are part of a means of egress system are called:  (223)

A.	escalators.

B.	fire escapes.

C.	protected stairs.

D.	convenience stairs.

Objective 5:

Explain the inconsistencies in fire door classifications.

12.	For which building types are inspectors MOST likely to encounter different classifications of fire doors?  (223)

A.	Schools

B.	Older buildings

C.	Public buildings

D.	Modern high-rise buildings

13.	An inspector should evaluate fire doors based on:  (223)

A.	past experience.

B.	building comparison.

C.	locally adopted codes.

D.	occupant egress capability.

Objective 6:

Identify the testing methods used to evaluate interior finishes.

14.	Which test is most commonly used to evaluate surface-burning characteristics of materials?  (225)

A.	The ASTM E-119

B.	The Steiner Tunnel Test

C.	The Flame Spread Rating Test

D.	The Smoke-Developed Index Test

15.	A numerical evaluation of the flammability of interior materials is:  (225)

A.	the flame spread rating.

B.	the combustibility reading.

C.	the fire code classification.

D.	the flash point comparison.

16.	The flame spread rating developed in the tunnel is a means of comparing the surface flammability of a material to:  (226)

A.	concrete.

B.	rare materials.

C.	floor coverings.

D.	standard materials.

17.	Red oak flooring has a flame-spread and smoke-developed index of:  (226)

A.	10.

B.	20.

C.	50.

D.	100.

18.	Codes establish three classifications for interior finishes to restrict their use in:  (226)

A.	bedrooms.

B.	bathrooms.

C.	exit corridors.

D.	commercial kitchens.

19.	Which of the following statements about flame spread rating is MOST accurate?  (226)

A.	It is an absolute measure of fire travel.

B.	It is especially useful for floor coverings.

C.	It can be positively determined in the field.

D.	It is not an absolute measure of fire travel.

20.	What does the smoke-developed index measure?  (226)

A.	Fire spread rating

B.	Level of combustion

C.	Relative visual obscurity

D.	Level of smoke produced

21.	Which of the following statements about the smoke-developed index measure is MOST accurate?  (226)

A.	It does not apply to floor coverings.

B.	It measures completely transparent products.

C.	It does not measure the toxicity of products of combustion.

D.	It measures the combined effects of heat, irritation, and toxicity.

22.	Which of the following can reduce the flame spread rating of some interior wood finishes?  (228)

A.	Water-based paint

B.	Insulation sheeting

C.	Fire-retardant coatings

D.	Level of smoke produced

Objective 7:

Describe building service characteristics that require inspector evaluations.

23.	Inspectors must verify that building services have been installed and maintained according to:  (229)

A.	model fire codes.

B.	owner specfications.

C.	locally adopted codes.

D.	architectural standards.

24.	Most HVAC systems are designed to _____ upon detection of smoke conditions within the system.  (230)

A.	activate sprinklers

B.	turn off immediately

C.	exhaust smoke from the building

D.	maintain a comfortable environment

25.	Where are active smoke-control systems most applicable?  (231)

A.	Warehouses

B.	Industrial sites

C.	High-rise structures

D.	One- and two-family homes

26.	Which type of refrigerant presents the greater threat?  (232)

A.	Type A

B.	Type B

C.	Type C

D.	Type D

27.	Model codes require refrigeration machinery rooms to be equipped with:  (232)

A.	thermostats.

B.	fire extinguishers.

C.	gas detection systems.

D.	doors that only swing into the room.

28.	In structures built before 1950, inspectors might find _____ in the electrical system.  (233)

A.	fuse boxes

B.	switch gears

C.	fire dampers

D.	circuit breakers

29.	Which of the following statements about generators is MOST accurate?  (234)

A.	Biofuels are the main type of fuel used in generators.

B.	Generators are limited to operating elevators during a fire.

C.	Generators are generally located in the kitchen areas of commercial buildings.

D.	Generators can have the capacity to provide power to the entire building or operation.

30.	Which type of transformer poses the threat of a combustible liquid leak?  (234)

A.	Air-cooled

B.	Polyphase

C.	Autotransformers

D.	Oil-cooled or oil-filled

31.	What do model building codes require for nearly every new hoistway?  (234)

A.	Smoke detectors

B.	Sprinkler systems

C.	Venting at the top

D.	Venting at the sides

32.	What type of door may be installed on some hoistways?  (235)

A.	Folding door

B.	Vertical door

C.	Swinging door

D.	Revolving door

33.	What must an inspector verify has been installed and maintained when inspecting vertical shafts and utility chases?  (235)

A.	Signage

B.	Firestopping

C.	Switch gear

D.	Fire retardant

34.	Manifold exhaust ducts typically have separate _____ for each hood.  (236)

A.	duct work

B.	smoke detectors

C.	grease-removal devices

D.	fire suppression systems

35.	Where is most grease extraction and control equipment installed?  (236)

A.	On the roof

B.	In the adjacent wall

C.	Under the floor system

D.	Next to the cooking surfaces