Chapter 4 Quiz

| Name: |  | Date: |  |
| --- | --- | --- | --- |

Directions: 	Write the correct letter on the blank before each question.

1.	Where are most requirements for multiple-use occupancies found?  (146)

A.	Local codes

B.	Model codes

C.	Trade standards

D.	Consensus standards

2.	A commercial printing operation that has paper storage is an example of what type of challenge for an inspector?  (146)

A.	A facility with low fire load

B.	A facility with intermingled uses

C.	A facility with a large number of workers

D.	A facility with different uses under one roof

3.	_____ restrict(s) combinations of occupancies in high-hazard occupancy situations.  (147)

A.	The ICC®

B.	Local codes

C.	Canadian codes

D.	Consensus standards

4.	Which of the following is an example of an incidental-use area?  (147)

A.	Kitchen

B.	Bathroom

C.	Living room

D.	Furnace room

5.	What kind of doors must be used for incidental-use areas?  (147)

A.	Swinging

B.	Metal core

C.	Self-closing

D.	Bypass sliding

6.	What can reduce the fire-resistance rating requirements for mixed-use occupancies?  (147)

A.	Fewer people present

B.	Distance from a fire department

C.	Automatic fire suppression systems

D.	Nothing can reduce the rating requirements

7.	Which of the following BEST describes an accessory occupancy?  (148)

A.	People cannot reside in them.

B.	It is usually a separate structure.

C.	They are never used for storage.

D.	It is subsidiary to the main occupancy.

8.	Nonseparated occupancies are buildings or portions of buildings that have _____ occupancy use(s).  (148)

A.	zero

B.	limited

C.	at least one

D.	two or more